# Text Results Tables (MedGemma 4B, n = 250 images)

## Table 1. Structured template vs zero-shot prompting

| Metric | Structured template | Zero-shot |
| --- | --- | --- |
| Reports with one clear grade | 100% | 49.6% |
| Exact accuracy (strict, all 250) | 53.2% | 22.8% |
| Exact accuracy (clear reports only) | 53.2% | 46.0% |
| Within one grade (clear reports) | 90.8% | 93.5% |
| Quadratic weighted kappa | 0.785 | 0.691 |
| Referable DR sensitivity (grade >= 2) | 0.940 | 0.987 |
| Referable DR specificity | 0.760 | 0.739 |
| Average words per report | 74.2 | 326.3 |
| Average seconds per report | 16.4 | 43.4 |

Strict accuracy counts reports without a single clear grade as wrong. Zero-shot metrics other than strict accuracy are computed only on the 124 reports with a clear grade, which are likely the easier cases.

## Table 2. Internal consistency of structured reports

| Check | % of reports |
| --- | --- |
| Format complete (all sections and fields) | 100% |
| Grade 0 but findings present | 0.0% |
| Grade 1 but not microaneurysms only | 0.0% |
| Grade >= 1 but no findings present | 0.0% |
| Grade 4 without PDR signs | 11.2% |
| PDR signs present but grade < 4 | 0.0% |
| Summary mentions a finding marked Absent | 16.4% |
| Fully consistent reports | 81.2% |

## Table 3. Structured template accuracy per true grade

| True grade | Exact accuracy | Mean predicted | Over-graded | Under-graded |
| --- | --- | --- | --- | --- |
| 0 (No DR) | 54% | 0.56 | 46% | 0% |
| 1 (Mild NPDR) | 32% | 1.14 | 40% | 28% |
| 2 (Moderate NPDR) | 66% | 2.22 | 24% | 10% |
| 3 (Severe NPDR) | 38% | 3.14 | 40% | 22% |
| 4 (PDR) | 76% | 3.48 | 0% | 24% |

## Table 4. Accuracy by model-reported image quality (structured)

| Reported quality | n | Exact accuracy | Within one grade | True grades in group |
| --- | --- | --- | --- | --- |
| Adequate | 231 | 51.1% | 90.0% | 0:50, 1:50, 2:50, 3:46, 4:35 |
| Poor | 19 | 78.9% | 100% | 3:4, 4:15 |
| Good | 0 | - | - | - |

The model labelled only advanced-disease images (grades 3-4) as Poor quality, so the reported quality seems to reflect lesion-related haze rather than true acquisition quality. It never used Good.